## Pump Log OLD

OLD PUMP

## OIL

07-30-07	Changed oil

10-01-07	Changed oil

07-16-08	Changed oil

    - Changed oil

09-03-10	Changed oil

10-12-11	Changed oil

10-11-12	Changed oil

10-04-13	Changed oil

10-03-14	Changed oil

06-03-15	Oil checked, added to the full mark (1/2 pint)

07-02-15	Changed oil

Notes

5-16-08 	back on the well

10-10		Removed from the well

5-26-09 	back on the well

10-06-09	Removed from the well

5-28-10 	back on the well

    - Removed from the well

    - back on the well

10-12-11	Removed from the well

5-15-12	back on the well

10-11-12	Removed from the well

4-25-13	back on the well

8-30-13	New spark plug NGK 7131 BPR6ES $2.49

replaced Denso W20EPR-U

10-04-13	Removed from the well

6-19-14	back on the well

11-10-14	Removed from the well

05-05-15	back on the well

8-26		Starter rope broke	ROPE, RECOIL STARTER 28462-ZH8-003

8-31		Starter rope replaced – 60” of 3/16”nylon cord

11-11		Sprinklers tied to fence, pump and hoses water drained.

04-27-16	New Pump purchased

6.5 HP 212cc 2 in. Gas Engine Clear Water Pump 9540 GPH Item #69774

Harbor Freight

$159.99

+ $29.99 1 year warrantee

$189.98

5-7-16		Tank put back on pump -  Ready to store as a SPARE pump.

Old Pump INFO

http://powerequipment.honda.com/pumps/models/wh15

WH15		(WH15XK2, WH15XK2AC1 )

Features

High pressure 1.5" centrifugal pump

Easy starting Honda OHV commercial engine

115 gal./min. capacity

55 psi max.

Cast iron volute and impeller

MSRP		$709.95*

http://cdn.powerequipment.honda.com/pe/pdf/manuals/00X31YB77220.pdf

Pump_Honda_WH15_

Well INFO

Pipe dia		2 inch		Pipe depth		21 feet

6-5-15		Flow tested 		 26.5 GPM

7-30		Flow tested 		 20 GPM

8-31		Flow tested 		 18 GPM

10-14		Flow tested 		 20 GPM

6-24-15	Water table 		6 feet

7-22		Water table 		8’ 6”

8-31		Water table 		9’ 4”

9-28		Water table 		10’

10-14		Water table 		11’

11-11		Water table 		9’

01-22-16	Water table 		2’

No Flow  50 psi	3 pods  40 psi		6 pods  30 psi

Second well started near first one.

9-22	 2” PVC with water flowing n it.

Down 3” Hitting sand

9-23	Down 3” more. Hitting small rocks

9-24	At 10’ hit larger rocks (1-1.5”) No progress with toothed end, will try 45 end

Water at 5’

9-30	2” Sand point and 2” galvanized pipe installed, down 10’

10-2	Well at 15’ 5”, water at 11’ -  ready to flow test.

10-12	Flow tested 0.7 GPM

10-14	Back flushed for about 1 hour - Flow tested 0.8 GPM

10-15	Back flushed for about 1 hour - Flow tested 1.5 GPM

10-26	Water at 9’  Flow tested 2 GPM

11-06	Added 3’ more pipe, pounded down to 18’ now

Water at 9.5’  Back flushed for 10 min, Flow tested 1 GPM

11-09	Flow tested 5 GPM

11-11	Flow tested 5 GPM, Back flushed for about 1 hour

Flow tested 4.3 GPM, Water at 9’

2016

01-22	Added 3’ more pipe. Needs to be pounded down

Water at 2 feet.

02-25	Pipe broke at coupler 18” below ground.

02-29	2’ pipe attached with rubber coupler.

Water table at 1 foot, 2 GPM on new well, 20 GPM on old well.

3-2	New well down 20.5 feet.  2.9 GPM on new well, 20 GPM on old well.

4-12	Water table at 18 inches.

New well 10 GPM, 	Old well 20 GPM 	Both 25 GPM

4-28	New 2” pump installed.  Old well – at half throttle 20 GMP,

at Full throttle 20 GPM.

4-29	New 2” pump - Old well 20 GPM, New well 12.5 GPM both wells 30 gpm.